## Slide 1: Summer 2017 (Shiny)
Situational Awareness
Values of drought ops triggers
Chart: 
| Category 1 | Category 2 | Category 3 | Category 4
POR | 4.3 | 4.5 | 2.5 | 2.2
L Falls adj | 4.8 | 4 | 3 | 2.8
Demands | 1.5 | 1.6 | 1.4 | 1.5
Daily: demands & Luke & POR & L Falls “adjusted” , MGD
Enter display period:
Start date: 6/1
End date: 7/23
Today is Tuesday, 7/7/17
? Table of reservoir storages ?
Chart: 
| Category 1 | Category 2 | Category 3 | Category 4
Luke | 4.3 | 2.5 | 3.5 | 4.5
Hancock | 2.4 | 4.4 | 1.8 | 2.8
Shepherdstown | 2 | 2 | 3 | 5
Millville | 5 | 3 | 4 | 2
Do we need a Patuxent or Great Falls load-shift?
Click here to see more data and forecasts from around the web (goes to Sarah’s Drupal page).

## Slide 2: Summer 2017 (Shiny)
One-Day Operations
Forecast date is 7/8/17
 | FC demand + 100 MGD | FC flow, MGD | FC deficit + MOS, MGD | Added from Seneca, MGD | Added from Griffith, MGD
LFFS (corrected) | 555 | 60 | 160 | 150 | 10
MARFC | 555 | 110 | 130 | 120 | 10
POR lagged + local - withdr | 555 | 140 | NA | NA | NA
Chart: 
| Category 1 | Category 2 | Category 3 | Category 4
Observed | 4.3 | 2.5 | 3.5 | 4.5
LFFS | 2.4 | 4.4 | 1.8 | 2.8
MARFC | 2 | 2 | 3 | 5
Flow at Little Falls, MGD
(based on hourly flows from real-time data)
Load data
POR lagged + local
Today is Tuesday, 7/7/17
Seneca flow is 30 MGD
Seneca storage is 3500 MG
Griffith production is 90 MGD
Occoquan storage is 6950 MG
1-day Margin of Safety (MOS) = 120 MGD

## Slide 3: Summer 2017 (Shiny)
Jennings Release
Chart: 
| Category 1 | Category 2 | Category 3 | Category 4
Observed | 4.3 | 2.5
LFFS | 2.4 | 4.4 | 1.8 | 2.8
GEFS? | 2 | 2 | 3 | 5
Flow at Little Falls, MGD
(based on daily data)
Recession equation
Forecast date is 7/16/17
 | FC flow, MGD | FC deficit, MGD | Luke today if no WS, MGD | COOP Luke target, MGD | Luke target, cfs
Recession eq | 80 | 20 | 180 | 200 | 300
LFFS-corrected | 230 | none | 180 | NA | NA
GEFS average? | 160 | none | 180 | NA | NA

## Slide 4: Summer 2017 (Shiny)
Check Inputs
 |  |  | Data, if avail., else hist-orical | FC from suppliers /Corps, if avail., else historical |  | Optional override of supplier /Corps or historical |  | Optional override of historical | 
 | min /max | hist-orical | t-1 | t | t+1 | t | t+1 | t+2 | t+3 to t+15
Demands, MGD |  |  |  |  |  |  |  |  | 
FW Pot | 60/225 |  | 140 |  |  |  |  |  | 
FW Occ | 45/120 |  | 65 |  |  |  |  |  | 
FW Tot |  |  | 205 | 190 | 200 |  |  |  | 
WSSC Pot |  |  | 130 |  |  |  |  |  | 
WSSC Pat |  |  | 50 |  |  |  |  |  | 
WSSC Tot |  |  | 180 | 180 | 180 |  |  |  | 
WA GF |  |  | 165 |  |  |  |  |  | 
WA LF |  |  | 0 |  |  |  |  |  | 
WA Tot |  |  | 165 | 155 | 155 |  |  |  | 
Pot Tot |  |  |  |  |  |  |  |  | 
Sys Tot |  |  |  |  |  |  |  |  | 
Luke, cfs |  |  | 255 | 255 | 255 |  |  |  | 
Today is Tuesday, 7/7/17
1. Click to update LFFS inputs based on data in tables below
2. Go to Linux machine and do new run of the LFFS again
3. Click to read in new LFFS flow predictions
To see updated LFFS flows based on values above, do the following: